## Slide 1: POCUS PASSPORT: AAA MINIMUM IMAGING SET AND AUDITING GUIDE

## Slide 2: Transverse plane of proximal and distal (bifurcation) Imaged at site of maximal aneurysmal dilatation if present Curvilinear or phased array) transducer on EFAST, ABDO or VASCULAR preset Anatomy - include vertebral body, aorta, IVC Depth - adequate if no portion of aorta is cut-off OR aorta is not displayed in the superficial third of the image field Gain/TGC - adequate to demonstrate aorta without over-gain obscuring lumen OR under-gain making tissues appear anechoic Focal Zone – adequate if within +/- 5cm mid level of aorta Label – AO TRV Label - Ao Proximal and Ao Distal
TRANSVERSE AORTA
Proximal

## Slide 3: Transverse plane of proximal and distal (bifurcation) Imaged at site of maximal aneurysmal dilatation if present Curvilinear or phased array) transducer on EFAST, ABDO or VASCULAR preset Anatomy - include vertebral body, aorta, IVC Depth - adequate if no portion of aorta is cut-off OR aorta is not displayed in the superficial third of the image field Gain/TGC - adequate to demonstrate aorta without over-gain obscuring lumen OR under-gain making tissues appear anechoic Focal Zone – adequate if within +/- 5cm mid level of aorta Label – AO TRV Label - Ao Proximal and Ao Distal
TRANSVERSE AORTA
Distal

## Slide 4: Longitudinal plane in central abdomen Imaged at site of maximal aneurysmal dilatation if present Curvilinear or phased array transducer on EFAST, ABDO or VASCULAR preset Anatomy - include spine & aorta Depth - adequate if no portion of aorta is cut-off OR aorta is not displayed in the superficial third of the image field Gain/TGC - adequate to demonstrate aorta without over-gain obscuring lumen OR under-gain making tissues appear anechoic Focal Zone – adequate if within +/- 5cm mid level of aorta Label – AO LONG
LONG AORTA

## Slide 5: Single measurement ok in transverse from anterior to posterior outer wall to outer wall If aneurysm present, then transverse image and longitudinal image at the point of largest diameter from outer wall to outerwall.
Aorta Measurements